WORK PACKAGE SUPPORTING DOCUMENTS

MS-SPG-009 — Pile Integrity and Dynamic Load Testing

| Project | [Insert project name] | Document No. | MS-SPG-009-WP |
| --- | --- | --- | --- |
| Contractor | [Insert contractor] | Revision | 0 |
| Location | [Insert location] | Date | [DD/MM/YYYY] |
| Prepared by | [Name / Position] | Approved by | [Name / Position] |

This editable workbook must be adapted to the contract, approved drawings, project specification, actual site conditions, materials, equipment and authority requirements.

# 1. Inspection and Test Plan (ITP)

| Activity | Inspection / Test | Acceptance Criteria | Responsibility | H/W | Record |
| --- | --- | --- | --- | --- | --- |
| Approve the test programme, pile population, head preparation, impact energy and interpretation criteria. | Test plan | Approved drawings, specification and submission | Site Engineer / QA/QC | H | IR / Checklist / Test Record |
| Identify and expose each pile head and prepare clean sound concrete or steel perpendicular to the axis. | Pile-head condition | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| For low-strain testing, mount the sensor and apply repeatable impacts at suitable points on the head. | Low-strain signal | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| For PDA testing, install matched strain and acceleration sensors and verify signal quality before driving blows. | PDA sensor setup | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Record sufficient consistent traces, pile length, wave speed, hammer energy and site observations. | Trace quality | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Analyse anomalies, repeat or supplement tests where required and issue location-linked interpreted reports. | Interpretation and report | Approved drawings, specification and submission | Site Engineer / QA/QC | H | IR / Checklist / Test Record |

# 2. HIRARC

| Activity | Hazard | Consequence | Control | PIC |
| --- | --- | --- | --- | --- |
| Approve the test programme, pile population, head preparation, impact energy and interpretation criteria. | Flying fragments | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Identify and expose each pile head and prepare clean sound concrete or steel perpendicular to the axis. | Hammer impact | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| For low-strain testing, mount the sensor and apply repeatable impacts at suitable points on the head. | Sensor detachment | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| For PDA testing, install matched strain and acceleration sensors and verify signal quality before driving blows. | Noise | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Record sufficient consistent traces, pile length, wave speed, hammer energy and site observations. | Incorrect pile identification | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |

# 3. Job Safety Analysis (JSA)

| Activity | Hazard | Consequence | Control | PIC |
| --- | --- | --- | --- | --- |
| Approve the test programme, pile population, head preparation, impact energy and interpretation criteria. | Flying fragments | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Identify and expose each pile head and prepare clean sound concrete or steel perpendicular to the axis. | Hammer impact | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| For low-strain testing, mount the sensor and apply repeatable impacts at suitable points on the head. | Sensor detachment | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| For PDA testing, install matched strain and acceleration sensors and verify signal quality before driving blows. | Noise | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Record sufficient consistent traces, pile length, wave speed, hammer energy and site observations. | Incorrect pile identification | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |

# 4. Inspection Checklist

| No. | Inspection Item | What Must Be Checked | Status | Remarks / Evidence |
| --- | --- | --- | --- | --- |
| 1 | Test plan | Confirm the test for test plan uses the approved procedure, calibrated equipment, specified sampling location and required frequency. Record the measured result, acceptance limit, certificate number, witness or hold-point release and disposition of any failure. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 2 | Pile-head condition | Inspect pile-head condition for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 3 | Low-strain signal | Inspect low-strain signal for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 4 | PDA sensor setup | Inspect pda sensor setup for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 5 | Trace quality | Inspect trace quality for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 6 | Interpretation and report | Inspect interpretation and report for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 7 | Work area released | Inspect work area released for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 8 | Final protection and handover | Inspect final protection and handover for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |

# 5. Material Checklist

| No. | Item | Approval Details | Condition Details | Certificate / Calibration Details | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Pile-head preparation material | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 2 | Sensors and attachment consumables | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 3 | Impact cushion | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 4 | Identification labels | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 5 | Test records | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |

# 6. Plant & Machinery Checklist

| No. | Item | Approval Details | Condition Details | Certificate / Calibration Details | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Low-strain integrity tester | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify the calibration or verification certificate matches the serial number, measurement range and accuracy required. Record calibration date, due date and pre-use functional check. |  |
| 2 | PDA sensors and analyser | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 3 | Calibrated hammer | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 4 | Pile-head preparation tools | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 5 | Survey equipment | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify the calibration or verification certificate matches the serial number, measurement range and accuracy required. Record calibration date, due date and pre-use functional check. |  |

# 7. Manpower Requirement

Project Manager

Site Engineer

QA/QC Engineer

Safety and Health Officer

Supervisor

Skilled workers / operators

General workers

# 8. Required PPE

Safety helmet

Safety footwear

High-visibility vest

Safety gloves

Eye protection

Hearing / respiratory / fall protection where required

# 9. Required Permits

Permit to work

Work-front release

Lifting permit where applicable

Excavation / hot-work / confined-space permit where applicable

Inspection release before covering

# 10. Applicable Standards

Contract documents and project specification

Approved drawings and coordinated shop drawings

Approved material submissions and manufacturer instructions

Applicable Malaysian law and authority requirements

Applicable JKR specification where contractually required

Current project-approved MS/BS/EN/ISO standards

# 11. Inspection Records

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 12. Testing Records

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 13. Reference Drawings

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 14. Document Register

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |