WORK PACKAGE SUPPORTING DOCUMENTS

MS-TPL-010 — Existing-Pipeline Sliplining

| Project | [Insert project name] | Document No. | MS-TPL-010-WP |
| --- | --- | --- | --- |
| Contractor | [Insert contractor] | Revision | 0 |
| Location | [Insert location] | Date | [DD/MM/YYYY] |
| Prepared by | [Name / Position] | Approved by | [Name / Position] |

This editable workbook must be adapted to the contract, approved drawings, project specification, actual site conditions, materials, equipment and authority requirements.

# 1. Inspection and Test Plan (ITP)

| Activity | Inspection / Test | Acceptance Criteria | Responsibility | H/W | Record |
| --- | --- | --- | --- | --- | --- |
| Approve liner size, hydraulic capacity, pulling force, access pits, joint system and annulus-grout design. | Liner and hydraulic design | Approved drawings, specification and submission | Site Engineer / QA/QC | H | IR / Checklist / Test Record |
| Isolate, clean and gauge the host pipe and verify bends, intrusions and connection locations by CCTV. | Host-pipe condition | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Prepare pits and rollers and string, fuse or joint the liner with dimensional and weld records. | Liner joints | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Attach the tested pulling head and pull or push the liner within force and bend-radius limits. | Pulling force | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Centralise and terminate the liner, reconnect branches and install staged annulus grout without flotation. | Termination and grouting | Approved drawings, specification and submission | Site Engineer / QA/QC | W | IR / Checklist / Test Record |
| Pressure or leakage test and CCTV the system, reinstate pits and issue complete as-built records. | Testing and as-built | Approved drawings, specification and submission | Site Engineer / QA/QC | H | IR / Checklist / Test Record |

# 2. HIRARC

| Activity | Hazard | Consequence | Control | PIC |
| --- | --- | --- | --- | --- |
| Approve liner size, hydraulic capacity, pulling force, access pits, joint system and annulus-grout design. | Winch cable failure | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Isolate, clean and gauge the host pipe and verify bends, intrusions and connection locations by CCTV. | Pipe buckling | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Prepare pits and rollers and string, fuse or joint the liner with dimensional and weld records. | Confined space | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Attach the tested pulling head and pull or push the liner within force and bend-radius limits. | Pipe flotation | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Centralise and terminate the liner, reconnect branches and install staged annulus grout without flotation. | Service interruption | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |

# 3. Job Safety Analysis (JSA)

| Activity | Hazard | Consequence | Control | PIC |
| --- | --- | --- | --- | --- |
| Approve liner size, hydraulic capacity, pulling force, access pits, joint system and annulus-grout design. | Winch cable failure | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Isolate, clean and gauge the host pipe and verify bends, intrusions and connection locations by CCTV. | Pipe buckling | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Prepare pits and rollers and string, fuse or joint the liner with dimensional and weld records. | Confined space | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Attach the tested pulling head and pull or push the liner within force and bend-radius limits. | Pipe flotation | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |
| Centralise and terminate the liner, reconnect branches and install staged annulus grout without flotation. | Service interruption | Injury / damage / delay | Permit, briefing, segregation, supervision and task-specific PPE | Supervisor / SHO |

# 4. Inspection Checklist

| No. | Inspection Item | What Must Be Checked | Status | Remarks / Evidence |
| --- | --- | --- | --- | --- |
| 1 | Liner and hydraulic design | Measure liner and hydraulic design at the specified locations using a verified measuring or survey instrument. Compare every reading with the approved drawing and stated tolerance; record actual values, grid or chainage, instrument identification and corrective action. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 2 | Host-pipe condition | Check host-pipe condition against the approved material submission and delivery documents. Confirm manufacturer, type, grade, size, batch, quantity, identification, storage and visible condition before the material is incorporated into the work. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 3 | Liner joints | Measure liner joints at the specified locations using a verified measuring or survey instrument. Compare every reading with the approved drawing and stated tolerance; record actual values, grid or chainage, instrument identification and corrective action. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 4 | Pulling force | Inspect pulling force for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 5 | Termination and grouting | Inspect termination and grouting at every completed location. Confirm the approved type and detail, surface preparation, dimensions, spacing, embedment or engagement, tightening or curing, finish and required test record before the connection is concealed or loaded. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 6 | Testing and as-built | Confirm the test for testing and as-built uses the approved procedure, calibrated equipment, specified sampling location and required frequency. Record the measured result, acceptance limit, certificate number, witness or hold-point release and disposition of any failure. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 7 | Work area released | Inspect work area released for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |
| 8 | Final protection and handover | Inspect final protection and handover for each defined work lot. Confirm the correct location, completeness, cleanliness, damage-free condition and compliance with the approved drawing, specification, manufacturer's requirement and agreed sample. Record the result and close defects before release. | ☐ Conforming ☐ Non-conforming ☐ Not applicable |  |

# 5. Material Checklist

| No. | Item | Approval Details | Condition Details | Certificate / Calibration Details | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | PE or GRP liner pipes | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the mill or manufacturer's certificate, grade and batch or heat number, product certification and required independent test report; verify traceability to the installed location. |  |
| 2 | Centralisers and spacers | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 3 | Pulling head | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 4 | Jointing materials | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity, product data, batch or serial identification and any specified test report. State 'not applicable' only with the QA/QC representative's agreement. |  |
| 5 | Annulus grout | Match the approved material submission, technical data, manufacturer, product type, grade, size, colour where relevant, batch and intended location with the delivery documents. | Inspect identification, packaging, quantity, expiry where applicable, damage, deformation, corrosion, moisture, contamination and storage. Quarantine non-conforming material. | Check the manufacturer's certificate of conformity or analysis, batch number and shelf life; retain the safety data sheet, delivery docket and specified test results. |  |

# 6. Plant & Machinery Checklist

| No. | Item | Approval Details | Condition Details | Certificate / Calibration Details | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 | Winch | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify current statutory registration and inspection where required, load-test or thorough-examination certificate, operator competency and certificates for all lifting accessories. |  |
| 2 | Pipe-fusion or jointing equipment | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 3 | Rollers | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 4 | CCTV equipment | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |
| 5 | Grout plant | Confirm the make, model, capacity, working range and attachment suit the approved method, lifting plan or temporary works design. Verify the assigned operator is trained and authorised. | Complete the pre-start check: structure, guards, controls, emergency stop, brakes, tyres or tracks, hoses, cables, leakage, warning devices and housekeeping. Tag out defects before use. | Verify plant registration where required, current inspection and maintenance record, operator competency and any electrical safety tag or manufacturer's verification applicable to the item. |  |

# 7. Manpower Requirement

Project Manager

Site Engineer

QA/QC Engineer

Safety and Health Officer

Supervisor

Skilled workers / operators

General workers

# 8. Required PPE

Safety helmet

Safety footwear

High-visibility vest

Safety gloves

Eye protection

Hearing / respiratory / fall protection where required

# 9. Required Permits

Permit to work

Work-front release

Lifting permit where applicable

Excavation / hot-work / confined-space permit where applicable

Inspection release before covering

# 10. Applicable Standards

Contract documents and project specification

Approved drawings and coordinated shop drawings

Approved material submissions and manufacturer instructions

Applicable Malaysian law and authority requirements

Applicable JKR specification where contractually required

Current project-approved MS/BS/EN/ISO standards

# 11. Inspection Records

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 12. Testing Records

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 13. Reference Drawings

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |

# 14. Document Register

| No. | Reference / Title | Revision | Date | Status | Remarks |
| --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |
| 2 |  |  |  |  |  |
| 3 |  |  |  |  |  |
| 4 |  |  |  |  |  |
| 5 |  |  |  |  |  |
| 6 |  |  |  |  |  |
| 7 |  |  |  |  |  |
| 8 |  |  |  |  |  |